{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":61,"n_cols":4,"rows_kept":61,"cut":false,"hidden":false,"merged":[]}
[null,"SNR","SNR_No log","type"]
[1,32.333001890185827,41.366625492874277,"chang_Cryo"]
[2,30.772540326377779,34.564240340732603,"chang_Cryo"]
[3,31.353253472911199,36.95410373913257,"chang_Cryo"]
[4,31.268128588673559,36.593708938433913,"chang_Cryo"]
[5,30.551124619996909,33.694283915142371,"chang_Cryo"]
[6,30.936685305185161,35.223642550948171,"chang_Cryo"]
[7,29.488656519309231,29.814863540458759,"chang_Cryo"]
[8,31.276779992806361,36.630175517600087,"chang_Cryo"]
[9,31.414223021904931,37.214411118204289,"chang_Cryo"]
[10,29.803969146762171,30.91707911784755,"chang_Cryo"]
[11,31.740279481251459,38.637940917881771,"chang_Cryo"]
[12,29.103259369412889,28.520883093586601,"chang_Cryo"]
[13,32.019667968681958,39.900964932100052,"chang_Cryo"]
[14,31.64290290041577,38.207194129475141,"chang_Cryo"]
[15,31.955558799761199,39.607546430480767,"chang_Cryo"]
[16,31.91855343274268,39.439161375447767,"chang_Cryo"]
[17,33.725821769304723,48.5613876702662,"chang_RT"]
[18,33.341062401285939,46.45720951719403,"chang_RT"]
[19,29.570274187406572,30.096341724708068,"chang_RT"]
[20,32.797385203805113,43.638444349374062,"chang_RT"]
[21,33.688487975309783,48.353108471791217,"chang_RT"]
[22,33.312305587348057,46.303655614605681,"chang_RT"]
[23,33.331969158587214,46.408598995228047,"chang_RT"]
[24,32.504463625079403,42.191326635095727,"chang_RT"]
[25,32.718817605559508,43.245495771701492,"chang_RT"]
[26,34.290015059119327,51.820399044012127,"chang_RT"]
[27,33.076453465762491,45.063266921772133,"chang_RT"]
[28,32.160984181170662,40.555448543081368,"chang_RT"]
[29,31.84177054304616,39.092057342969483,"chang_RT"]
[30,33.947948041973433,49.819274881413847,"chang_RT"]
[31,33.73664608805781,48.621942388881173,"normal_Cryo"]
[32,33.745278378551113,48.670288313365141,"normal_Cryo"]
[33,30.558104361487569,33.721370594526313,"normal_Cryo"]
[34,32.694395070800198,43.124071113572519,"normal_Cryo"]
[35,31.535573275889,37.737981200391609,"normal_Cryo"]
[36,32.383524964524632,41.607943231122732,"normal_Cryo"]
[37,32.513349199374296,42.234510005465133,"normal_Cryo"]
[38,29.163622787402549,28.719782022308419,"normal_Cryo"]
[39,32.984750797850538,44.590006934785407,"normal_Cryo"]
[40,31.75223566972841,38.691162938480687,"normal_Cryo"]
[41,31.57017398256648,37.888612294455001,"normal_Cryo"]
[42,32.266203538980832,41.049717902085803,"normal_Cryo"]
[43,33.192306736310613,45.668351683390661,"normal_Cryo"]
[44,34.009716078099018,50.174817776629091,"normal_Cryo"]
[45,30.3686661669309,32.993873756970558,"normal_Cryo"]
[46,32.37677896915563,41.575640492672598,"normal_Cryo"]
[47,26.123152722060251,20.237536083239359,"normal_RT"]
[48,25.615305530434391,19.088213175740499,"normal_RT"]
[49,24.24315963201661,16.29888823081102,"normal_RT"]
[50,25.201420167651211,18.1999840919859,"normal_RT"]
[51,23.661183768797621,15.24260475644515,"normal_RT"]
[52,19.847356179175861,9.8257974875314602,"normal_RT"]
[53,27.126053312404789,22.71447302342559,"normal_RT"]
[54,26.269447369908949,20.581279402696509,"normal_RT"]
[55,25.143910868636532,18.07987999115549,"normal_RT"]
[56,25.146318710772832,18.084892664958751,"normal_RT"]
[57,25.25368750022788,18.3098326541636,"normal_RT"]
[58,25.628476830953371,19.117180538128959,"normal_RT"]
[59,32.374545686302277,41.564952096517409,"normal_RT"]
[60,23.37299947888404,14.74517644952469,"normal_RT"]