{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["IncreasingStd_2_DefT4_G2.5mm","IncreasingStd_3_DefT5_G2.5mm","IncreasingStd_5_DefT6_G2.5mm"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":3,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"IncreasingStd_2_DefT4_G2.5mm","index":0,"n_rows":21,"n_cols":26,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["VoiName(Region) [string]","Time [seconds]","Time [minutes]","Averaged [kBq/cc]","Sd [kBq/cc]","Averaged [kBq/cc]","Sd [kBq/cc]","Volume [ccm]","NumberOfPixels [voxels]","SE","%SE","Bias","%Bias","COVframe","COVmean","COVmean","BPnd","SE","%Bias","%BiasSE","COVframe","COVmean","COVmean","T4 True Data","kBq/ml","Av.Measured"]
["BG",3730,{"$f":"B2/60","v":62.166666666666664},65.374576000000005,21.786002,{"$f":"D2/8","v":8.1718220000000006},{"$f":"E2/8","v":2.72325025},122.32576,62635,{"$f":"G2/SQRT(I2)","v":1.0881255583074151E-2},{"$f":"J2*100","v":1.0881255583074152},{"$f":"(F2-$Y$2)/$Y$2","v":1.1364108910891152E-2},{"$f":"100*L2","v":1.1364108910891151},{"$f":"G2/F2","v":0.33324884585102316},{"$f":"(F2-$Z$2)^2","v":1.1071532530576786E-3},{"$f":"(SQRT((1/(((COUNT(O2:O11))-1))*(SUM(O2:O11)))))/$Z$2","v":4.1874576923108982E-3},{"$f":"(F12/F2)-1","v":0.96604231895897841},{"$f":"SQRT((J2^2)+(J12^2))","v":6.3163364802178518E-2},{"$f":"100*((Q2-$Y$5)/$Y$5)","v":13.652037524585698},{"$f":"100*((SQRT((J2^2)+(J12^2))/$Y$5))","v":7.4309840943739438},{"$f":"SQRT((N2^2)+(N12^2))","v":0.37793492110880067},{"$f":"(Q2-$Z$5)^2","v":2.4579756608048078E-3},{"$f":"(SQRT((1/(((COUNT(V2:V11))-1))*(SUM(V2:V11)))))/$Z$5","v":2.5058117568253657E-2},"BG",8.08,{"$f":"AVERAGE(F2:F11)","v":8.2050959125000009}]
["BG",3850,{"$f":"B3/60","v":64.166666666666671},65.760074000000003,22.430107,{"$f":"D3/8","v":8.2200092500000004},{"$f":"E3/8","v":2.8037633749999999},122.32576,62635,{"$f":"G3/SQRT(I3)","v":1.1202960828824883E-2},{"$f":"J3*100","v":1.1202960828824884},{"$f":"(F3-$Y$2)/$Y$2","v":1.7327877475247562E-2},{"$f":"100*L3","v":1.7327877475247562},{"$f":"G3/F3","v":0.34109005108479651},{"$f":"(F3-$Z$2)^2","v":2.2240763538889006E-4},{"$f":"(SQRT((1/(((COUNT(O12:O21))-1))*(SUM(O12:O21)))))/$Z$3","v":1.1795231025018921E-2},{"$f":"(F13/F3)-1","v":0.91825126291676606},{"$f":"SQRT((J3^2)+(J13^2))","v":6.5959902818256505E-2},8.0295603431489511,{"$f":"100*((SQRT((J3^2)+(J13^2))/$Y$5))","v":7.759988566853707},{"$f":"SQRT((N3^2)+(N13^2))","v":0.39032345951922487},{"$f":"(Q3-$Z$5)^2","v":3.1930813694246299E-6},null,"Hot_1_d20mm",14.99,{"$f":"AVERAGE(F12:F21)","v":15.724624362499998}]
["BG",3970,66.166666666666671,65.739486999999997,23.594604,8.2174358749999996,2.9493255,122.32576,62635,1.1784581517316655E-2,1.1784581517316655,1.7009390470296974E-2,1.7009390470296974,0.35891068027348616,1.5227467450137396E-4,null,0.90170388764974696,6.2259101495014998E-2,6.0828103117349395,7.3246001758841173,0.40155424882622315,2.1787105387236736E-4]
["BG",4090,68.166666666666671,65.664687999999998,23.192266,8.2080859999999998,2.89903325,122.32576,62635,1.1583629428503715E-2,1.1583629428503714,1.5852227722772241E-2,1.5852227722772241,0.35319235812100408,8.940623257649374E-6,null,0.9016588185114045,6.9405020297244005E-2,6.077508060165238,8.1652965055581195,0.406783712379296,2.1920356714375718E-4,null,"BPnd",0.85,{"$f":"AVERAGE(Q2:Q11)","v":0.91646434339719485}]
["BG",4210,70.166666666666671,65.865713,24.757145999999999,8.2332141249999999,3.0946432499999998,122.32576,62635,1.2365225759801264E-2,1.2365225759801264,1.89621441831683E-2,1.8962144183168301,0.37587304338449962,7.9063387419510097E-4,null,0.91026326550203751,6.5218012249234833E-2,7.0897959414161802,7.6727073234393925,0.4200090218833874,3.8453367061808939E-5]
["BG",4330,72.166666666666671,65.814901000000006,25.483222999999999,8.2268626250000008,3.1854028749999999,122.32576,62635,1.272787281225227E-2,1.272787281225227,1.8176067450495135E-2,1.8176067450495135,0.38719534045944998,4.7378977305764932E-4,null,0.89789637456113458,6.6457409668081086E-2,5.6348675954276004,7.8185187844801272,0.43232039541954143,3.4476946669690527E-4]
["BG",4450,74.166666666666671,65.298561000000007,25.779506999999999,8.1623201250000008,3.2224383749999999,122.32576,62635,1.2875855077615853E-2,1.2875855077615854,1.018813428217831E-2,1.0188134282178309,0.39479441208512994,1.8297679962451653E-3,null,0.94103269748930574,7.3303123766893352E-2,10.709729116388914,8.6238969137521586,0.44701689993693838,6.0360402279534188E-4]
["BG",4570,76.166666666666671,65.561815999999993,27.035019999999999,8.1952269999999992,3.3793774999999999,122.32576,62635,1.3502934696945374E-2,1.3502934696945375,1.426076732673256E-2,1.426076732673256,0.41235923056188684,9.7395433932691183E-5,null,0.91337657578002451,7.372024082722918E-2,7.456067738826416,8.6729695090857852,0.46400970531660363,9.5343088576457616E-6]
["BG",4690,78.166666666666671,66.099374999999995,27.182275000000001,8.2624218749999994,3.3977843750000001,122.32576,62635,1.3576482807832612E-2,1.3576482807832613,2.2576964727722686E-2,2.2576964727722686,0.41123346476422812,3.2862659765512275E-3,null,0.92565559054075797,7.3104376752863173E-2,8.900657710677411,8.6005149121015503,0.46076556254075091,8.4479024054057197E-5]
["BG",4810,80.166666666666671,65.228482,27.680271000000001,8.15356025,3.4600338750000001,122.32576,62635,1.3825212324856829E-2,1.3825212324856828,9.1039913366336486E-3,0.91039913366336489,0.42435865669846495,2.6559245093140059E-3,null,0.88876264206179134,8.0578648811308801E-2,4.5603108307989837,9.4798410366245651,0.48619442162173088,7.6738425687589639E-4]
["Hot_1_d20mm",3730,62.166666666666664,128.52918299999999,22.912832000000002,16.066147874999999,2.8641040000000002,4.1701649999999999,2119,{"$f":"G12/SQRT(I12)","v":6.2219039932073054E-2},{"$f":"J12*100","v":6.221903993207305},{"$f":"(F12-$Y$3)/$Y$3","v":7.1791052368245387E-2},7.1791052368245385,0.17826949075059478,{"$f":"(F12-$Z$3)^2","v":0.11663830959033782}]
["Hot_1_d20mm",3850,64.166666666666671,126.144345,23.937524,15.768043125,2.9921905,4.1701649999999999,2119,6.5001557277204192E-2,6.5001557277204194,{"$f":"(F13-$Y$3)/$Y$3","v":5.1904144429619742E-2},5.1904144429619743,0.18976295766568052,{"$f":"(F13-$Z$3)^2","v":1.8851889370315592E-3}]
["Hot_1_d20mm",3970,66.166666666666671,125.017038,22.513114000000002,15.62712975,2.8141392500000002,4.1701649999999999,2119,6.1133618880516945E-2,6.1133618880516947,{"$f":"(F14-$Y$3)/$Y$3","v":4.2503652434956615E-2},4.2503652434956614,0.18008036632574834,9.5051994665248576E-3]
["Hot_1_d20mm",4090,68.166666666666671,124.871833,25.200654,15.608979124999999,3.15008175,4.1701649999999999,2119,6.8431545150785214E-2,6.8431545150785213,4.1292803535690405E-2,4.1292803535690403,0.2018121572700867,1.3373820956431175E-2]
["Hot_1_d20mm",4210,70.166666666666671,125.820852,23.581605,15.7276065,2.947700625,4.1701649999999999,2119,6.4035070966232954E-2,6.4035070966232954,4.9206571047364915E-2,4.9206571047364918,0.18742207372749312,8.8931440689173975E-6]
["Hot_1_d20mm",4330,72.166666666666671,124.909862,24.020621999999999,15.61373275,3.0025777499999999,4.1701649999999999,2119,6.5227207156724767E-2,6.5227207156724765,4.1609923282188141E-2,4.1609923282188142,0.19230364692901508,1.2296949722849691E-2]
["Hot_1_d20mm",4450,74.166666666666671,126.74664199999999,26.574960000000001,15.843330249999999,3.3218700000000001,4.1701649999999999,2119,7.2163427787243578E-2,7.2163427787243579,5.6926634422948569E-2,5.6926634422948572,0.20966993350403715,1.4091087727162867E-2]
["Hot_1_d20mm",4570,76.166666666666671,125.44444300000001,26.688986,15.680555375000001,3.33612325,4.1701649999999999,2119,7.2473061631165389E-2,7.247306163116539,4.6067736824549739E-2,4.6067736824549739,0.21275542671906159,1.9420756592749401E-3]
["Hot_1_d20mm",4690,78.166666666666671,127.284631,26.453146,15.910578875000001,3.30664325,4.1701649999999999,2119,7.1832645886067609E-2,7.183264588606761,6.1412866911274205E-2,6.1412866911274202,0.20782670925918778,3.4579080719113461E-2]
["Hot_1_d20mm",4810,80.166666666666671,123.20112,29.233927000000001,15.40014,3.6542408750000002,4.1701649999999999,2119,7.9383765017973701E-2,7.9383765017973698,2.7360907271514353E-2,2.7360907271514354,0.23728621135911751,0.10529010150703012]

{"sheet":"IncreasingStd_3_DefT5_G2.5mm","index":1,"n_rows":13,"n_cols":26,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
["VoiName(Region) [string]","Time [seconds]","Time [minutes]","Averaged [kBq/cc]","Sd [kBq/cc]","Averaged [kBq/cc]","Sd [kBq/cc]","Volume [ccm]","NumberOfPixels [voxels]","SE","%SE","Bias","%Bias","COVframe","COVmean","COVmean","BPnd","SE","%Bias","%BiasSE","COVframe","COVmean","COVmean","T5 True Data","kBq/ml","Av.Measured"]
["BG",4960,{"$f":"B2/60","v":82.666666666666671},64.792484000000002,24.255773000000001,{"$f":"D2/16","v":4.0495302500000001},{"$f":"E2/16","v":1.5159858125000001},122.32576,62635,{"$f":"G2/SQRT(I2)","v":6.0574047817040788E-3},{"$f":"J2*100","v":0.60574047817040788},{"$f":"(F2-$Y$2)/$Y$2","v":9.8579177057357414E-3},{"$f":"100*L2","v":0.98579177057357414},{"$f":"G2/F2","v":0.37436090581123577},{"$f":"(F2-$Z$2)^2","v":9.3079653858477146E-6},{"$f":"(SQRT((1/(((COUNT(O2:O7))-1))*(SUM(O2:O7)))))/$Z$2","v":4.939411636354008E-3},{"$f":"(F8/F2)-1","v":0.86064533349269334},{"$f":"SQRT((J2^2)+(J8^2))","v":3.229594171214048E-2},{"$f":"100*((Q2-$Y$5)/$Y$5)","v":1.2523921756109841},{"$f":"100*((SQRT((J2^2)+(J8^2))/$Y$5))","v":3.7995225543694682},{"$f":"SQRT((N2^2)+(N8^2))","v":0.42155320537343938},{"$f":"(Q2-$Z$5)^2","v":1.0600230803442386E-3},{"$f":"(SQRT((1/(((COUNT(V2:V7))-1))*(SUM(V2:V7)))))/$Z$5","v":2.4884592755232714E-2},"BG",4.01,{"$f":"AVERAGE(F2:F7)","v":4.052581145833333}]
["BG",5140,{"$f":"B3/60","v":85.666666666666671},65.153332000000006,25.087060000000001,{"$f":"D3/16","v":4.0720832500000004},{"$f":"E3/16","v":1.5679412500000001},122.32576,62635,{"$f":"G3/SQRT(I3)","v":6.265002447165758E-3},{"$f":"J3*100","v":0.62650024471657584},{"$f":"(F3-$Y$2)/$Y$2","v":1.5482107231920348E-2},{"$f":"100*L3","v":1.5482107231920348},{"$f":"G3/F3","v":0.38504646239734908},{"$f":"(F3-$Z$2)^2","v":3.8033206692754683E-4},{"$f":"(SQRT((1/(((COUNT(O8:O13))-1))*(SUM(O8:O13)))))/$Z$3","v":1.3105565308510427E-2},{"$f":"(F9/F3)-1","v":0.92136856484945384},{"$f":"SQRT((J3^2)+(J9^2))","v":3.3052414332734009E-2},{"$f":"100*((Q3-$Y$5)/$Y$5)","v":8.3963017469945722},{"$f":"100*((SQRT((J3^2)+(J9^2))/$Y$5))","v":3.888519333262825},{"$f":"SQRT((N3^2)+(N9^2))","v":0.42978914616476116},{"$f":"(Q3-$Z$5)^2","v":7.932805027644292E-4},{"$f":"(SQRT((1/(((COUNT(V8:V13))-1))*(SUM(V8:V13)))))/$Z$6","v":{"$error":"#DIV/0!"}},"Hot_1_d20mm",7.44,{"$f":"AVERAGE(F8:F13)","v":7.6723887812499996}]
["BG",5320,88.666666666666671,65.141987,26.173981999999999,4.0713741875,1.6358738749999999,122.32576,62635,6.5364399527912988E-3,0.65364399527912986,1.5305283665835469E-2,1.530528366583547,0.40179895034518981,3.5317841508508441E-4,null,0.89692947192415229,3.7034935175523004E-2,5.5211143440179189,4.3570511971203532,0.45678392240375376,1.3884140073732225E-5]
["BG",5500,91.666666666666671,65.003989000000004,27.482772000000001,4.0627493125000003,1.71767325,122.32576,62635,6.8632846509275531E-3,0.68632846509275536,1.3154442019950245E-2,1.3154442019950245,0.42278593087571903,1.0339161336112422E-4,null,0.87439610821422042,4.1013963143305861E-2,2.8701303781435819,4.8251721345065715,0.48835670377659013,3.5371155882064675E-4,null,"BPnd",0.85,{"$f":"AVERAGE(Q2:Q7)","v":0.89320332913653233}]
["BG",5680,94.666666666666671,64.605056000000005,28.797903000000002,4.0378160000000003,1.7998689375000001,122.32576,62635,7.1917128897623769E-3,0.71917128897623772,6.9366583541148399E-3,0.69366583541148397,0.44575308471213149,2.1800953147958082E-4,null,0.90840300486698733,4.07620653920783E-2,6.8709417490573355,4.7955371049503883,0.50610672453298267,2.3103014231098268E-4]
["BG",5860,97.666666666666671,64.350942000000003,29.534102000000001,4.0219338750000002,1.845881375,122.32576,62635,7.3755641874672885E-3,0.73755641874672884,2.9760286783043462E-3,0.2976028678304346,0.45895368555754784,9.3925520953164773E-4,null,0.89747749147168632,3.9796910055063882E-2,5.5855872319630988,4.681989418242809,0.51602680478173235,1.8268463667248973E-5]
["Hot_1_d20mm",4960,82.666666666666671,120.55583300000001,23.364522000000001,7.5347395625000004,1.4602826250000001,4.1701649999999999,2119,3.1722794618137977E-2,3.1722794618137975,{"$f":"(F8-$Y$3)/$Y$3","v":1.27338121639785E-2},1.27338121639785,0.19380664890764762,{"$f":"(F8-$Z$3)^2","v":1.8947307422485113E-2}]
["Hot_1_d20mm",5140,85.666666666666671,125.183564,23.9025,7.8239727500000003,1.49390625,4.1701649999999999,2119,3.2453225379917593E-2,3.2453225379917594,{"$f":"(F9-$Y$3)/$Y$3","v":5.1609240591397827E-2},5.1609240591397825,0.19093960290186338,{"$f":"(F9-$Z$3)^2","v":2.2977699582001184E-2}]
["Hot_1_d20mm",5320,88.666666666666671,123.569755,26.848825999999999,7.7231096875,1.6780516249999999,4.1701649999999999,2119,3.645355094087193E-2,3.645355094087193,3.8052377352150488E-2,3.8052377352150488,0.21727667907086162,2.5726103308213373E-3]
["Hot_1_d20mm",5500,91.666666666666671,121.84322400000001,29.781715999999999,7.6152015000000004,1.86135725,4.1701649999999999,2119,4.043563399429758E-2,4.0435633994297584,2.354858870967742E-2,2.354858870967742,0.24442652633682771,3.2703851367665063E-3]
["Hot_1_d20mm",5680,94.666666666666671,123.292483,29.551179999999999,7.7057801875000003,1.8469487499999999,4.1701649999999999,2119,4.0122627540320602E-2,4.0122627540320606,3.572314348118278E-2,3.5723143481182782,0.23968354988843885,1.1149860113525859E-3]
["Hot_1_d20mm",5860,97.666666666666671,122.10446399999999,28.803502999999999,7.6315289999999996,1.8002189374999999,4.1701649999999999,2119,3.9107481417848866E-2,3.9107481417848868,2.5743145161290209E-2,2.5743145161290211,0.23589230120202651,1.6695217237978519E-3]

{"sheet":"IncreasingStd_5_DefT6_G2.5mm","index":2,"n_rows":9,"n_cols":26,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["VoiName(Region) [string]","Time [seconds]","Time [minutes]","Averaged [kBq/cc]","Sd [kBq/cc]","Averaged [kBq/cc]","Sd [kBq/cc]","Volume [ccm]","NumberOfPixels [voxels]","SE","%SE","Bias","%Bias","COVframe","COVmean","COVmean","BPnd","SE","%Bias","%BiasSE","COVframe","COVmean","COVmean","T6 True Data","kBq/ml","Av.Measured"]
["BG",6100,{"$f":"B2/60","v":101.66666666666667},64.074166000000005,25.336006000000001,{"$f":"D2/32","v":2.0023176875000002},{"$f":"E2/32","v":0.79175018750000004},122.32576,62635,{"$f":"G2/SQRT(I2)","v":3.1635859202195542E-3},{"$f":"J2*100","v":0.31635859202195543},{"$f":"(F2-$Y$2)/$Y$2","v":6.1897927135679265E-3},{"$f":"100*L2","v":0.61897927135679265},{"$f":"G2/F2","v":0.39541686738458676},{"$f":"(F2-$Z$2)^2","v":9.8356720351562395E-6},{"$f":"(SQRT((1/(((COUNT(O2:O5))-1))*(SUM(O2:O5)))))/$Z$2","v":3.5926300050279931E-3},{"$f":"(F6/F2)-1","v":0.88445154323194752},{"$f":"SQRT((J2^2)+(J6^2))","v":1.83605511476366E-2},{"$f":"100*((Q2-$Y$5)/$Y$5)","v":4.0531227331702997},{"$f":"100*((SQRT((J2^2)+(J6^2))/$Y$5))","v":2.1600648408984235},{"$f":"SQRT((N2^2)+(N6^2))","v":0.45281070610622343},{"$f":"(Q2-$Z$5)^2","v":1.7233852359918614E-7},{"$f":"(SQRT((1/(((COUNT(V2:V5))-1))*(SUM(V2:V5)))))/$Z$5","v":3.1206622681619452E-2},"BG",1.99,{"$f":"AVERAGE(F2:F5)","v":2.0054538750000002}]
["BG",6400,{"$f":"B3/60","v":106.66666666666667},63.900148000000002,26.745805000000001,{"$f":"D3/32","v":1.996879625},{"$f":"E3/32","v":0.83580640625000002},122.32576,62635,{"$f":"G3/SQRT(I3)","v":3.3396207801236607E-3},{"$f":"J3*100","v":0.33396207801236605},{"$f":"(F3-$Y$2)/$Y$2","v":3.4570979899497768E-3},{"$f":"100*L3","v":0.34570979899497767},{"$f":"G3/F3","v":0.4185562293220354},{"$f":"(F3-$Z$2)^2","v":7.3517763062502E-5},{"$f":"(SQRT((1/(((COUNT(O6:O9))-1))*(SUM(O6:O9)))))/$Z$3","v":1.1420211292777658E-2},{"$f":"(F7/F3)-1","v":0.91892259780055596},{"$f":"SQRT((J3^2)+(J7^2))","v":1.7426607866230022E-2},{"$f":"100*((Q3-$Y$5)/$Y$5)","v":8.1085409177124692},{"$f":"100*((SQRT((J3^2)+(J7^2))/$Y$5))","v":2.0501891607329439},{"$f":"SQRT((N3^2)+(N7^2))","v":0.4662685710112463},{"$f":"(Q3-$Z$5)^2","v":1.2170463449201201E-3},null,"Hot_1_d20mm",3.7,{"$f":"AVERAGE(F6:F9)","v":3.7782110625000001}]
["BG",6700,111.66666666666667,64.406053,28.959523000000001,2.01268915625,0.90498509375000002,122.32576,62635,3.6160371614639788E-3,0.36160371614639786,1.1401586055276386E-2,1.1401586055276387,0.44963977221209317,5.2349294766599194E-5,null,0.85150373987364203,1.9641993063426271E-2,0.17691057336965313,2.3108227133442671,0.50897094715975433,1.0583743964591844E-3]
["BG",7000,116.66666666666667,64.317729,30.709070000000001,2.00992903125,0.95965843750000002,122.32576,62635,3.8344947295574803E-3,0.38344947295574805,1.0014588567839199E-2,1.00145885678392,0.47745886674574595,2.0027023461912578E-5,null,0.88126774501008898,2.1019212166771016E-2,3.678558236481059,2.4728484902083547,0.5396913003810585,7.6654863297568531E-6,null,"BPnd",0.85,{"$f":"AVERAGE(Q2:Q5)","v":0.88403640647905857}]
["Hot_1_d20mm",6100,101.66666666666667,120.74466099999999,26.641383000000001,3.7732706562499998,0.83254321875000004,4.1701649999999999,2119,1.8085949313496604E-2,1.8085949313496603,{"$f":"(F6-$Y$3)/$Y$3","v":1.9802880067567464E-2},1.9802880067567463,0.22064232719987514,{"$f":"(F6-$Z$3)^2","v":2.4407613915041543E-5}]
["Hot_1_d20mm",6400,106.66666666666667,122.619438,25.19436,3.8318574375000001,0.78732374999999999,4.1701649999999999,2119,1.7103613500319644E-2,1.7103613500319643,{"$f":"(F7-$Y$3)/$Y$3","v":3.5637145270270239E-2},3.5637145270270238,0.20546791284429144,{"$f":"(F7-$Z$3)^2","v":2.8779335506406278E-3}]
["Hot_1_d20mm",6700,111.66666666666667,119.248048,28.438972,3.7265014999999999,0.88871787499999999,4.1701649999999999,2119,1.9306272730659258E-2,1.9306272730659257,7.1625675675674955E-3,0.7162567567567496,0.23848584926102942,2.6738788539414208E-3]
["Hot_1_d20mm",7000,116.66666666666667,120.998869,30.442634999999999,3.78121465625,0.95133234374999998,4.1701649999999999,2119,2.0666492936169178E-2,2.0666492936169178,2.1949907094594538E-2,2.1949907094594536,0.2515943764730561,9.0215754150385955E-6]