{"text_format":"2","workbook":"xlsx","n_sheets":5,"sheets":["Rec1","Rec2","Rec3","Rec4","Rec6"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Rec1","index":0,"n_rows":22,"n_cols":2,"rows_kept":22,"cut":false,"hidden":false,"merged":[]}
["Sampling frequency","1000Hz"]
["DC enabled","Yes"]
["Initial anesthesia condition","awake (12h since surgery with last isofluorane dose)"]
["Initial state of the animal","awake"]
["Name of calibration file (ids vs Vgs)","20190731_033840 Current vs Vgs_5sStep"]
["Name of calibration file (Gm vs freq)"]
["# of channels not working","1 DC - 1AC shows bad performance"]
["Connection problems?","Not aparent"]
["Maze used","Large squared arena"]
["Mocap tracking? (if yes, Name of file)","yes"]
["Stimulation? (if yes, which and trigger used)","First file (to be updated)"]
["General comments","It was interrupted to eliminate constrain in the max recording time"]
["Time of DC sweep pre-rec"]
["Time of DC sweep post-rec"]
["Vgs","0.25V"]
["initial light state","on"]
[]
["Time","observation"]
["beginning time of recording","15:51:00"]
["0-30'","high voltage spindles observed (Kandel and Buzsaki 1997)"]
["5500'' aprox","turn down light intesity"]
["end time of recording","17:55:00"]

{"sheet":"Rec2","index":1,"n_rows":22,"n_cols":2,"rows_kept":22,"cut":false,"hidden":false,"merged":[]}
["Sampling frequency","1000Hz"]
["DC enabled","Yes"]
["Initial anesthesia condition","awake "]
["Initial state of the animal","awake"]
["Name of calibration file (ids vs Vgs)","20190731_115540 Current vs Vgs_5sStep-afterRec2"]
["Name of calibration file (Gm vs freq)"]
["# of channels not working","1 DC - 1AC shows bad performance"]
["Connection problems?","Not aparent"]
["Maze used","Large squared arena"]
["Mocap tracking? (if yes, Name of file)","yes"]
["Stimulation? (if yes, which and trigger used)","Second file (to be updated)"]
["General comments"]
["Time of DC sweep pre-rec"]
["Time of DC sweep post-rec"]
["Vgs","0.25V"]
["initial light state","off"]
[]
["Time","observation"]
["beginning time of recording","18:00:00"]
["1h-36'","entered in room and made noise"]
["1h-38'-30''","turned light off"]
["end time of recording","23:47:00"]

{"sheet":"Rec3","index":2,"n_rows":20,"n_cols":2,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
["Sampling frequency","1000Hz"]
["DC enabled","Yes"]
["Initial anesthesia condition","awake"]
["Initial state of the animal","awake"]
["Name of calibration file (ids vs Vgs)","20190731_115540 Current vs Vgs_5sStep-afterRec2"]
["Name of calibration file (Gm vs freq)"]
["# of channels not working","1 DC - 1AC shows bad performance"]
["Connection problems?","Not aparent"]
["Maze used","Large squared arena"]
["Mocap tracking? (if yes, Name of file)","yes"]
["Stimulation? (if yes, which and trigger used)","Third file (to be updated)"]
["General comments"]
["Time of DC sweep pre-rec"]
["Time of DC sweep post-rec"]
["Vgs","0.25V"]
["initial light state","off"]
[]
["Time","observation"]
["beginning time of recording","00:03:00"]
["end time of recording","06:04:00"]

{"sheet":"Rec4","index":3,"n_rows":29,"n_cols":2,"rows_kept":29,"cut":false,"hidden":false,"merged":[]}
["Sampling frequency","1000Hz"]
["DC enabled","Yes"]
["Initial anesthesia condition","awake"]
["Initial state of the animal","awake"]
["Name of calibration file (ids vs Vgs)","20190731_115540 Current vs Vgs_5sStep-afterRec2"]
["Name of calibration file (Gm vs freq)"]
["# of channels not working","1 DC - 1AC shows bad performance"]
["Connection problems?","Not aparent"]
["Maze used","Large squared arena"]
["Mocap tracking? (if yes, Name of file)","yes"]
["Stimulation? (if yes, which and trigger used)","Fourth file (to be updated)"]
["General comments"]
["Time of DC sweep pre-rec"]
["Time of DC sweep post-rec"]
["Vgs","0.25V"]
["initial light state","off"]
[]
["Time","observation"]
["beginning time of recording","06:13:00"]
["0-30'","Initially AC in all channels accidentally"]
["20'","light down"]
["30'","light further down"]
["76'30''","alarm beeping"]
["1h25'","light on"]
["1h30' ","light down"]
["2h5'","ligths on"]
["2h6'","mocap off and on"]
["2h11'30''","cable diconnected from analog input MCS Interface board (a false trigger might be present)"]
["end time of recording"]

{"sheet":"Rec6","index":4,"n_rows":21,"n_cols":2,"rows_kept":21,"cut":false,"hidden":false,"merged":[]}
["Sampling frequency","1000Hz"]
["DC enabled","Yes"]
["Initial anesthesia condition","awake"]
["Initial state of the animal","awake"]
["Name of calibration file (ids vs Vgs)","20190801_031608 Current vs Vgs5s-afterRec6-highRange"]
["Name of calibration file (Gm vs freq)"]
["# of channels not working","1 DC - 1AC shows bad performance"]
["Connection problems?","Not aparent"]
["Maze used","Large squared arena"]
["Mocap tracking? (if yes, Name of file)","yes"]
["Stimulation? (if yes, which and trigger used)","First file (to be updated)"]
["General comments","It was interrupted to eliminate constrain in the max recording time"]
["Time of DC sweep pre-rec"]
["Time of DC sweep post-rec"]
["Vgs","0.25V"]
["initial light state","on"]
[]
["Time","observation"]
["beginning time of recording","12:14:00"]
["0-18'","DC channels off"]
["end time of recording","17:55:00"]