{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["ConstTrues_300s_DefT4_G2.5mm","ConstTrues_300s_DefT5_G2.5mm","ConstTrues_300s_DefT6_G2.5mm"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":3,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"ConstTrues_300s_DefT4_G2.5mm","index":0,"n_rows":45,"n_cols":26,"rows_kept":45,"cut":false,"hidden":false,"merged":[]}
["VoiName(Region) [string]","Time [seconds]","Time [minutes]","Averaged [kBq/cc]","Sd [kBq/cc]","Averaged [kBq/cc]","Sd [kBq/cc]","Volume [ccm]","NumberOfPixels [voxels]","SE","%SE","Bias","%Bias","COVframe","COVmean","COVmean","BPnd","SE","%Bias","%BiasSE","COVframe","COVmean","COVmean","T4 True Data","kBq/ml","Av.Measured"]
["BG",3690.5,{"$f":"B2/60","v":61.508333333333333},67.235726999999997,34.940381000000002,{"$f":"D2/8","v":8.4044658749999996},{"$f":"E2/8","v":4.3675476250000003},122.32576,62635,{"$f":"G2/SQRT(I2)","v":1.7451353205190562E-2},{"$f":"J2*100","v":1.7451353205190561},{"$f":"(F2-$Y$2)/$Y$2","v":4.0156667698019746E-2},{"$f":"100*L2","v":4.0156667698019746},{"$f":"G2/F2","v":0.51966986242299429},{"$f":"(F2-$Z$2)^2","v":6.9498425890349401E-3},{"$f":"(SQRT((1/(((COUNT(O2:O23))-1))*(SUM(O2:O23)))))/$Z$2","v":8.3996015797132909E-3},{"$f":"(F24/F2)-1","v":0.9100206650550533},{"$f":"SQRT((J2^2)+(J24^2))","v":0.10404091966000449},{"$f":"100*((Q2-$Y$5)/$Y$5)","v":7.0612547123592151},{"$f":"100*((SQRT((J2^2)+(J24^2))/$Y$5))","v":12.240108195294647},{"$f":"SQRT((N2^2)+(N24^2))","v":0.59712919851765278},{"$f":"(Q2-$Z$5)^2","v":8.8161151386709484E-4},{"$f":"(SQRT((1/(((COUNT(V2:V23))-1))*(SUM(V2:V23)))))/$Z$5","v":2.9698116160674914E-2},"BG",8.08,{"$f":"AVERAGE(F2:F23)","v":8.3211001590909106}]
["BG",3732,{"$f":"B3/60","v":62.2},66.131189000000006,34.121222000000003,{"$f":"D3/8","v":8.2663986250000008},{"$f":"E3/8","v":4.2651527500000004},122.32576,62635,{"$f":"G3/SQRT(I3)","v":1.7042215335737715E-2},{"$f":"J3*100","v":1.7042215335737714},{"$f":"(F3-$Y$2)/$Y$2","v":2.3069136757425831E-2},{"$f":"100*L3","v":2.306913675742583},{"$f":"G3/F3","v":0.51596262695352413},{"$f":"(F3-$Z$2)^2","v":2.9922578318989706E-3},{"$f":"(SQRT((1/(((COUNT(O24:O45))-1))*(SUM(O24:O45)))))/$Z$3","v":1.4734906080482059E-2},{"$f":"(F25/F3)-1","v":0.93668302259014258},{"$f":"SQRT((J3^2)+(J25^2))","v":9.2023771886030198E-2},{"$f":"100*((Q3-$Y$5)/$Y$5)","v":10.198002657663835},{"$f":"100*((SQRT((J3^2)+(J25^2))/$Y$5))","v":10.826326104238847},{"$f":"SQRT((N3^2)+(N25^2))","v":0.57777990300365945},{"$f":"(Q3-$Z$5)^2","v":3.1758072547569877E-3},null,"Hot_1_d20mm",14.99,{"$f":"AVERAGE(F24:F45)","v":15.638818943181819}]
["BG",3774.5,62.908333333333331,66.304935999999998,34.751550000000002,8.2881169999999997,4.3439437500000002,122.32576,62635,1.7357039509037983E-2,1.7357039509037984,2.5757054455445502E-2,2.5757054455445503,0.5241170883567402,1.0878887836163367E-3,null,0.8976677995737754,0.1012404200075495,5.6079764204441682,11.910637647947,0.59993040271545484,3.0064362949414183E-4]
["BG",3818,63.633333333333333,66.498930999999999,34.171720999999998,8.3123663749999999,4.2714651249999998,122.32576,62635,1.706743761037487E-2,1.7067437610374869,2.8758214727722747E-2,2.8758214727722748,0.51386872670178707,7.6278984546645644E-5,null,0.86380991598195767,0.10071724392342277,1.6246959978773752,11.84908752040268,0.5924893374113962,2.7287093474671095E-4,null,"BPnd",0.85,{"$f":"AVERAGE(Q2:Q11)","v":0.88032872146984664}]
["BG",3862.5,64.375,67.938271,35.026173,8.492283875,4.378271625,122.32576,62635,1.7494202952426565E-2,1.7494202952426565,5.1025232054455444E-2,5.1025232054455447,0.51555879306966756,2.9303864592443836E-2,null,0.86976396558575941,9.6025053807181848E-2,2.3251724218540515,11.2970651537861,0.58371602463874595,1.1161406689035573E-4]
["BG",3908.5,65.141666666666666,66.223892000000006,33.694296999999999,8.2779865000000008,4.2117871249999999,122.32576,62635,1.6828983002434711E-2,1.6828983002434712,2.4503279702970386E-2,2.4503279702970384,0.50879366920929381,1.8587876002071897E-3,null,0.860963230611695,9.6683754698003249E-2,1.2897918366700023,11.374559376235677,0.58293121502900336,3.7502223617715496E-4]
["BG",3956,65.933333333333337,67.582970000000003,34.929616000000003,8.4478712500000004,4.3662020000000004,122.32576,62635,1.7445976508890258E-2,1.7445976508890257,4.5528620049504989E-2,4.5528620049504989,0.5168404999070032,1.6070909490280706E-2,null,0.87860674072181189,9.7126461613855644E-2,3.3654989084484597,11.426642542806546,0.58645578410238308,2.9652176966023415E-6]
["BG",4004.5,66.74166666666666,66.315900999999997,34.387222000000001,8.2894876249999996,4.2984027500000002,122.32576,62635,1.7175071928016452E-2,1.7175071928016452,2.5926686262376177E-2,2.5926686262376175,0.51853660255630096,9.9935231164901173E-4,null,0.86177224674968977,9.1901633005241609E-2,1.3849702058458584,10.811956824146073,0.58429057908191073,3.443427540398209E-4]
["BG",4054.5,67.575000000000003,66.699011999999996,33.645603999999999,8.3373764999999995,4.2057004999999998,122.32576,62635,1.6804662754134603E-2,1.6804662754134603,3.1853527227722701E-2,3.18535272277227,0.50443931613259885,2.6491927338888137E-4,null,0.86655488989851914,9.2277900860743584E-2,1.9476341057081372,10.856223630675716,0.57139588153492971,1.8971843615529817E-4]
["BG",4106,68.433333333333337,66.604816,34.666927999999999,8.3256019999999999,4.3333659999999998,122.32576,62635,1.7314774131023652E-2,1.7314774131023651,3.0396287128712857E-2,3.0396287128712856,0.52048680683991377,2.0266571570750323E-5,null,0.85744473793006204,9.7348655098734499E-2,0.87585152118377207,11.452782952792294,0.59348190103661147,5.2367670264913261E-4]
["BG",4159,69.316666666666663,66.814618999999993,33.752904000000001,8.3518273749999992,4.2191130000000001,122.32576,62635,1.6858254905832003E-2,1.6858254905832002,3.3642001856435531E-2,3.3642001856435533,0.50517243838507864,9.4416179752374485E-4,null,0.85806556795601896,9.8553834869542972E-2,0.94889034776693904,11.594568808181528,0.58151900070218376,4.9564800438025788E-4]
["BG",4213.5,70.224999999999994,66.626852,34.285341000000003,8.3283564999999999,4.2856676250000003,122.32576,62635,1.7124186354791075E-2,1.7124186354791076,3.073719059405939E-2,3.0737190594059389,0.51458743690907083,5.2654483388923386E-5,null,0.91395128498641953,9.752523151148193E-2,7.5236805866375951,11.473556648409639,0.58452977141824103,1.1304767774259782E-3]
["BG",4269.5,71.158333333333331,67.198567999999995,34.290255999999999,8.3998209999999993,4.2862819999999999,122.32576,62635,1.712664120498299E-2,1.7126641204982991,3.9581806930692978E-2,3.958180693069298,0.51028254054461397,6.1969707934340541E-3,null,0.84416758702358075,9.4862861728806619E-2,-0.68616623251990971,11.16033667397725,0.58074459645028209,1.307627644440918E-3]
["BG",4327.5,72.125,66.444473000000002,33.846417000000002,8.3055591250000003,4.2308021250000003,122.32576,62635,1.6904960990470206E-2,1.6904960990470206,2.791573329207923E-2,2.7915733292079232,0.50939401686578212,2.415237406148375E-4,null,0.83459656606803101,9.0703118192019414E-2,-1.8121686978787022,10.67095508141405,0.57615938668761535,2.0914300376958148E-3]
["BG",4387.5,73.125,66.574439999999996,34.791103,8.3218049999999995,4.348887875,122.32576,62635,1.7376794684956783E-2,1.7376794684956782,2.9926361386138536E-2,2.9926361386138538,0.52258949530780885,4.9680070712518827E-7,null,0.91594023171655681,9.3837571487540614E-2,7.7576743195949218,11.039714292651837,0.58649898853599702,1.2681796620515431E-3]
["BG",4449.5,74.158333333333331,66.142595999999998,33.923935999999998,8.2678244999999997,4.2404919999999997,122.32576,62635,1.694367869790199E-2,1.6943678697901989,2.3245606435643516E-2,2.3245606435643515,0.51289090618699029,2.8382958515709594E-3,null,0.89062499149564678,9.2469531539213529E-2,4.7794107641937416,10.878768416378062,0.57855113468461827,1.0601317644419033E-4]
["BG",4514,75.233333333333334,65.684832,33.192703000000002,8.210604,4.1490878750000002,122.32576,62635,1.6578456425188619E-2,1.6578456425188619,1.6163861386138605E-2,1.6163861386138605,0.50533284457513727,1.2209401173843825E-2,null,0.91066528114131429,0.10176125532319798,7.137091898978154,11.971912390964468,0.58494113287245042,9.2030685270051704E-4]
["BG",4581,76.349999999999994,66.685548999999995,34.542113000000001,8.3356936249999993,4.3177641250000001,122.32576,62635,1.725243392213166E-2,1.725243392213166,3.1645250618811786E-2,3.1645250618811787,0.51798498352319189,2.1296924723973468E-4,null,0.88351548249231637,9.2773090234767361E-2,3.9429979402725168,10.914481204090277,0.58286911815743603,1.0155445814332323E-5]
["BG",4650.5,77.50833333333334,66.816102999999998,34.094580999999998,8.3520128749999998,4.2618226249999998,122.32576,62635,1.7028909198614037E-2,1.7028909198614037,3.3664959777227686E-2,3.3664959777227685,0.51027491082501475,9.5559600487605482E-4,null,0.86233332105585392,8.7231317111076137E-2,1.4509789477475226,10.262507895420722,0.56963790467971187,3.2383443605992949E-4]
["BG",4723,78.716666666666669,66.24297,34.080444999999997,8.28037125,4.2600556249999997,122.32576,62635,1.702184881971008E-2,1.7021848819710079,2.4798422029702956E-2,2.4798422029702958,0.51447640406219708,1.658844035735664E-3,null,0.89471983215728401,9.4439313776449527E-2,5.2611567243863577,11.110507503111709,0.58221253537232243,2.0710406681807408E-4]
["BG",4798.5,79.974999999999994,66.158871000000005,33.387036999999999,8.2698588750000006,4.1733796249999999,122.32576,62635,1.6675518654526572E-2,1.6675518654526571,2.3497385519802048E-2,2.349738551980205,0.50464943695910403,2.6256691952853462E-3,null,0.86526092623315765,9.5443595608992154E-2,1.7954030862538433,11.228658306940254,0.57733755676321286,2.2703845329478763E-4]
["BG",4877.5,81.291666666666671,65.58811,33.563065000000002,8.19851375,4.1953831250000002,122.32576,62635,1.6763437753119212E-2,1.6763437753119212,1.4667543316831681E-2,1.4667543316831682,0.51172483854161988,1.502742769380408E-2,null,0.87096330417205192,9.5539344570521698E-2,2.4662710790649345,11.239922890649613,0.58441068203368018,8.7711041161832556E-5]
["Hot_1_d20mm",3690.5,61.508333333333333,128.421628,37.771355999999997,16.0527035,4.7214194999999997,4.1701649999999999,2119,0.10256687201532079,10.256687201532079,{"$f":"(F24-$Y$3)/$Y$3","v":7.0894162775183428E-2},7.0894162775183425,0.29411989700052704,{"$f":"(F24-$Z$3)^2","v":0.17130042637258158}]
["Hot_1_d20mm",3732,62.2,128.07515100000001,33.30254,16.009393875000001,4.1628175000000001,4.1701649999999999,2119,9.0431949490113656E-2,9.0431949490113652,{"$f":"(F25-$Y$3)/$Y$3","v":6.8004928285523708E-2},6.8004928285523709,0.26002342952537294,{"$f":"(F25-$Z$3)^2","v":0.13732578009204968}]
["Hot_1_d20mm",3774.5,62.908333333333331,125.824742,36.730862000000002,15.72809275,4.5913577500000002,4.1701649999999999,2119,9.9741444860131853E-2,9.974144486013186,4.9239009339559693E-2,4.9239009339559692,0.29192082110527995,7.969812583809837E-3]
["Hot_1_d20mm",3818,63.633333333333333,123.941367,36.553784,15.492670875,4.569223,4.1701649999999999,2119,9.9260595388835957E-2,9.9260595388835959,3.3533747498332205E-2,3.3533747498332205,0.29492803641579973,2.1359257833277752E-2]
["Hot_1_d20mm",3862.5,64.375,127.028531,34.770456000000003,15.878566375,4.3463070000000004,4.1701649999999999,2119,9.4418026995545079E-2,9.4418026995545077,5.9277276517678446E-2,5.9277276517678441,0.27372162557717056,5.7478831063413206E-2]
["Hot_1_d20mm",3908.5,65.141666666666666,123.240228,35.061315,15.4050285,4.3826643750000001,4.1701649999999999,2119,9.5207845021339652E-2,9.5207845021339654,2.7687024683122081E-2,2.7687024683122079,0.2844957005434946,5.4657971323151422E-2]
["Hot_1_d20mm",3956,65.933333333333337,126.961823,35.186132000000001,15.870227874999999,4.3982665000000001,4.1701649999999999,2119,9.5546781470016162E-2,9.5546781470016171,5.8721005670446913E-2,5.8721005670446917,0.27713946734996081,5.3550093725231084E-2]
["Hot_1_d20mm",4004.5,66.74166666666666,123.465104,33.247498,15.433138,4.15593725,4.1701649999999999,2119,9.0282484753675091E-2,9.0282484753675085,2.9562241494329511E-2,2.9562241494329511,0.26928659939410898,4.2304650388163001E-2]
["Hot_1_d20mm",4054.5,67.575000000000003,124.497367,33.414088999999997,15.562170875,4.1767611249999996,4.1701649999999999,2119,9.0734857122194354E-2,9.0734857122194352,3.8170171781187416E-2,3.8170171781187414,0.26839193314024062,5.8749263560048956E-3]
["Hot_1_d20mm",4106,68.433333333333337,123.714765,35.278073999999997,15.464345625,4.4097592499999996,4.1701649999999999,2119,9.5796446939977895E-2,9.5796446939977891,3.1644137758505657E-2,3.1644137758505657,0.28515653729771057,3.0440938757374403E-2]
["Hot_1_d20mm",4159,69.316666666666663,124.145943,35.758591000000003,15.518242875,4.4698238750000003,4.1701649999999999,2119,9.7101275012345403E-2,9.71012750123454,3.5239684789859914E-2,3.5239684789859913,0.28803672625854559,1.4538588218186687E-2]
["Hot_1_d20mm",4213.5,70.224999999999994,127.520549,35.356741999999997,15.940068625,4.4195927499999996,4.1701649999999999,2119,9.6010067300541638E-2,9.6010067300541646,6.3380161774516344E-2,6.3380161774516344,0.27726309427980894,9.0751370795555231E-2]
["Hot_1_d20mm",4269.5,71.158333333333331,123.925421,34.360211999999997,15.490677625,4.2950264999999996,4.1701649999999999,2119,9.3304022937998027E-2,9.3304022937998035,3.3400775517011323E-2,3.3400775517011323,0.27726524326272006,2.1945850152647061E-2]
["Hot_1_d20mm",4327.5,72.125,121.898802,32.817135,15.23735025,4.102141875,4.1701649999999999,2119,8.9113848214888144E-2,8.9113848214888147,1.6501017344896611E-2,1.6501017344896611,0.2692162224859273,0.16117711160511752]
["Hot_1_d20mm",4387.5,73.125,127.552648,33.959029000000001,15.944081000000001,4.2448786250000001,4.1701649999999999,2119,9.2214623727238376E-2,9.2214623727238383,6.3647831887925305E-2,6.3647831887925301,0.26623539011122688,9.3184923332866487E-2]
["Hot_1_d20mm",4449.5,74.158333333333331,125.050845,33.476354999999998,15.631355624999999,4.1845443749999998,4.1701649999999999,2119,9.0903938392480385E-2,9.0903938392480388,4.278556537691789E-2,4.2785565376917889,0.26770194955499899,5.5701118283084994E-5]
["Hot_1_d20mm",4514,75.233333333333334,125.501728,36.974020000000003,15.687716,4.6217525000000004,4.1701649999999999,2119,0.10040173239297821,10.040173239297822,4.654543028685789E-2,4.6545430286857892,0.29460964872133077,2.3909221654803792E-3]
["Hot_1_d20mm",4581,76.349999999999994,125.603264,33.568742,15.700407999999999,4.19609275,4.1701649999999999,2119,9.1154812245271888E-2,9.1154812245271888,4.7392128085390207E-2,4.7392128085390208,0.26726010878188644,3.7932119197530111E-3]
["Hot_1_d20mm",4650.5,77.50833333333334,124.43385499999999,31.505821000000001,15.554231874999999,3.9382276250000001,4.1701649999999999,2119,8.5553018277781889E-2,8.5553018277781891,3.7640552034689731E-2,3.7640552034689732,0.2531933210620213,7.1549721035958922E-3]
["Hot_1_d20mm",4723,78.716666666666669,125.511869,34.208711999999998,15.688983625000001,4.2760889999999998,4.1701649999999999,2119,9.2892629682476011E-2,9.2892629682476002,4.6629994996664467E-2,4.662999499666447,0.27255360208204688,2.5164953019193516E-3]
["Hot_1_d20mm",4798.5,79.974999999999994,123.40355700000001,34.607514999999999,15.425444625000001,4.3259393749999999,4.1701649999999999,2119,9.3975566081696799E-2,9.3975566081696797,2.9049007671781226E-2,2.9049007671781224,0.28044179472071457,4.5528599659555975E-2]
["Hot_1_d20mm",4877.5,81.291666666666671,122.712947,34.637571000000001,15.339118375,4.3296963750000002,4.1701649999999999,2119,9.4057182158845121E-2,9.4057182158845123,2.3290085056704452E-2,2.329008505670445,0.28226500827170259,8.9820430568505402E-2]

{"sheet":"ConstTrues_300s_DefT5_G2.5mm","index":1,"n_rows":23,"n_cols":26,"rows_kept":23,"cut":false,"hidden":false,"merged":[]}
["VoiName(Region) [string]","Time [seconds]","Time [minutes]","Averaged [kBq/cc]","Sd [kBq/cc]","Averaged [kBq/cc]","Sd [kBq/cc]","Volume [ccm]","NumberOfPixels [voxels]","SE","%SE","Bias","%Bias","COVframe","COVmean","COVmean","BPnd","SE","%Bias","%BiasSE","COVframe","COVmean","COVmean","T5 True Data","kBq/ml","Av.Measured"]
["BG",4960,{"$f":"B2/60","v":82.666666666666671},65.852271999999999,33.810062000000002,{"$f":"D2/16","v":4.115767},{"$f":"E2/16","v":2.1131288750000001},122.32576,62635,{"$f":"G2/SQRT(I2)","v":8.443401545211995E-3},{"$f":"J2*100","v":0.84434015452119948},{"$f":"(F2-$Y$2)/$Y$2","v":2.6375810473815504E-2},{"$f":"100*L2","v":2.6375810473815502},{"$f":"G2/F2","v":0.51342286261588665},{"$f":"(F2-$Z$2)^2","v":1.2984303201137475E-3},{"$f":"(SQRT((1/(((COUNT(O2:O12))-1))*(SUM(O2:O12)))))/$Z$2","v":1.1404925149995748E-2},{"$f":"(F13/F2)-1","v":0.78755089877536788},{"$f":"SQRT((J2^2)+(J13^2))","v":4.5273503053735155E-2},{"$f":"100*((Q2-$Y$5)/$Y$5)","v":-7.3469530852508349},{"$f":"100*((SQRT((J2^2)+(J13^2))/$Y$5))","v":5.3262944769100189},{"$f":"SQRT((N2^2)+(N13^2))","v":0.58399823086774594},{"$f":"(Q2-$Z$5)^2","v":5.9598552733908594E-3},{"$f":"(SQRT((1/(((COUNT(V2:V12))-1))*(SUM(V2:V12)))))/$Z$5","v":4.3477915551337967E-2},"BG",4.01,{"$f":"AVERAGE(F2:F12)","v":4.0797332613636366}]
["BG",5046.5,{"$f":"B3/60","v":84.108333333333334},65.194434999999999,33.388041999999999,{"$f":"D3/16","v":4.0746521874999999},{"$f":"E3/16","v":2.0867526249999999},122.32576,62635,{"$f":"G3/SQRT(I3)","v":8.3380103063520842E-3},{"$f":"J3*100","v":0.83380103063520838},{"$f":"(F3-$Y$2)/$Y$2","v":1.6122740024937687E-2},{"$f":"100*L3","v":1.6122740024937687},{"$f":"G3/F3","v":0.51213024547263886},{"$f":"(F3-$Z$2)^2","v":2.5817311607731511E-5},{"$f":"(SQRT((1/(((COUNT(O13:O23))-1))*(SUM(O13:O23)))))/$Z$3","v":1.9627431996076059E-2},{"$f":"(F14/F3)-1","v":0.89468777511454789},{"$f":"SQRT((J3^2)+(J14^2))","v":4.6430215144287197E-2},{"$f":"100*((Q3-$Y$5)/$Y$5)","v":5.2573853075938723},{"$f":"100*((SQRT((J3^2)+(J14^2))/$Y$5))","v":5.4623782522690822},{"$f":"SQRT((N3^2)+(N14^2))","v":0.58004247965439792},{"$f":"(Q3-$Z$5)^2","v":8.9621064219392221E-4},null,"Hot_1_d20mm",7.44,{"$f":"AVERAGE(F13:F23)","v":7.6071612897727254}]
["BG",5137.5,85.625,65.416638000000006,32.779905999999997,4.0885398750000004,2.0487441249999998,122.32576,62635,8.1861402375512909E-3,0.81861402375512904,1.9586003740648526E-2,1.9586003740648525,0.50109432404642984,7.7556443740189071E-5,null,0.88477819664165525,4.7868711879643297E-2,4.0915525460770903,5.631613162310976,0.57486617424500663,4.0108869759965162E-4]
["BG",5233.5,87.224999999999994,66.857258999999999,33.542155000000001,4.1785786874999999,2.0963846875000001,122.32576,62635,8.3764970131300024E-3,0.83764970131300021,4.2039572942643433E-2,4.2039572942643435,0.50169802803312658,9.7704182680792683E-3,null,0.84701652217001611,4.2187292540891742E-2,-0.35099739176280842,4.9632108871637346,0.55903329476094354,3.1451162218987109E-4,null,"BPnd",0.85,{"$f":"AVERAGE(Q2:Q12)","v":0.86475099769622976}]
["BG",5335,88.916666666666671,65.020072999999996,33.017662999999999,4.0637545624999998,2.0636039374999999,122.32576,62635,8.2455153969693655E-3,0.82455153969693651,1.3405127805486283E-2,1.3405127805486283,0.50780722746958462,2.5531881737478752E-4,null,0.90303319099626367,4.5978809854994321E-2,6.2391989407369053,5.4092717476463905,0.57477143140891473,1.465526323861161E-3]
["BG",5442.5,90.708333333333329,65.392452000000006,32.627941999999997,4.0870282500000004,2.0392463749999998,122.32576,62635,8.1481902014816556E-3,0.81481902014816554,1.9209039900249521E-2,1.920903990024952,0.49895578162446019,5.3216859204676936E-5,null,0.82307013047927891,4.3000971098042809E-2,-3.1682199436142437,5.0589377762403309,0.56302761516942967,1.7372946919570885E-3]
["BG",5557,92.61666666666666,65.786876000000007,33.799531999999999,4.1116797500000004,2.11247075,122.32576,62635,8.4407718837144468E-3,0.84407718837144463,2.53565461346635E-2,2.5356546134663498,0.51377317263096667,1.0205781361933243E-3,null,0.89046687670653313,5.1759094164395093E-2,4.7608090242980179,6.0893051958111881,0.59617179598450687,6.6130643327256123E-4]
["BG",5679.5,94.658333333333331,64.997902999999994,33.524287000000001,4.0623689374999996,2.0952679375000001,122.32576,62635,8.3720348296885804E-3,0.83720348296885805,1.3059585411471279E-2,1.3059585411471279,0.51577490123027514,3.0151974324127179E-4,null,0.88763629805103128,4.8418040467960846E-2,4.4277997707095649,5.6962400550542167,0.58989592181978656,5.2373697232947856E-4]
["BG",5811.5,96.858333333333334,64.173693,33.052401000000003,4.0108558125,2.0657750625000002,122.32576,62635,8.2541905328764702E-3,0.82541905328764698,2.1341957605990506E-4,2.1341957605990506E-2,0.51504595504578499,4.7441029619628688E-3,null,0.90181107389284887,4.3016524400492313E-2,6.0954204579822227,5.0607675765285078,0.57461348965962855,1.3734492476992141E-3]
["BG",5954,99.233333333333334,64.271856999999997,32.857436,4.0169910624999998,2.05358975,122.32576,62635,8.2055018383019873E-3,0.82055018383019873,1.7434071072319286E-3,0.17434071072319285,0.51122586982355278,3.9365835182441399E-3,null,0.83877536010823528,4.6302815001384938E-2,-1.3205458696193764,5.4473900001629341,0.5848131860768756,6.747337481028318E-4]
["BG",6109,101.81666666666666,65.069596000000004,32.624896999999997,4.0668497500000003,2.0390560624999998,122.32576,62635,8.1474297723021661E-3,0.8147429772302166,1.4176995012468947E-2,1.4176995012468947,0.50138465589981529,1.6598486505694571E-4,null,0.85343465172274913,4.4694969868529978E-2,0.40407667326460578,5.2582317492388206,0.5686954241911093,1.2805968619151138E-4]
["Hot_1_d20mm",4960,82.666666666666671,117.714288,32.759887999999997,7.3571429999999998,2.0474929999999998,4.1701649999999999,2119,4.4479197936820737E-2,4.4479197936820736,{"$f":"(F13-$Y$3)/$Y$3","v":-1.1136693548387181E-2},-1.113669354838718,0.27830001401359195,{"$f":"(F13-$Z$3)^2","v":6.2509145220878623E-2}]
["Hot_1_d20mm",5046.5,84.108333333333334,123.523099,33.640918999999997,7.7201936875000001,2.1025574374999998,4.1701649999999999,2119,4.5675403254661726E-2,4.5675403254661724,{"$f":"(F14-$Y$3)/$Y$3","v":3.7660441868279534E-2},3.7660441868279535,0.27234516679345938,{"$f":"(F14-$Z$3)^2","v":1.2776322935976813E-2}]
["Hot_1_d20mm",5137.5,85.625,123.29585299999999,34.736972999999999,7.7059908124999996,2.1710608124999999,4.1701649999999999,2119,4.7163552506437077E-2,4.7163552506437076,3.5751453293010646E-2,3.5751453293010647,0.28173675070807125,9.7672745625008058E-3]
["Hot_1_d20mm",5233.5,87.224999999999994,123.486462,30.453202000000001,7.7179038750000002,1.9033251250000001,4.1701649999999999,2119,4.1347333042408001E-2,4.1347333042408003,3.7352671370967712E-2,3.7352671370967712,0.24661166500988585,1.2263920182820213E-2]
["Hot_1_d20mm",5335,88.916666666666671,123.73535699999999,33.315390000000001,7.7334598124999996,2.082211875,4.1701649999999999,2119,4.5233421620744813E-2,4.5233421620744814,3.9443523185483761E-2,3.944352318548376,0.26924713200609268,1.5951316843091787E-2]
["Hot_1_d20mm",5442.5,90.708333333333329,119.21502599999999,31.097353999999999,7.4509391249999997,1.943584625,4.1701649999999999,2119,4.2221919802576377E-2,4.2221919802576373,1.470312499999902E-3,0.1470312499999902,0.26085096018013704,2.440536476627668E-2]
["Hot_1_d20mm",5557,92.61666666666666,124.36790999999999,37.611359999999998,7.7729943749999997,2.3507099999999999,4.1701649999999999,2119,5.1066204075942569E-2,5.1066204075942565,4.4757308467741834E-2,4.4757308467741836,0.30242013393969552,2.7500612155996404E-2]
["Hot_1_d20mm",5679.5,94.658333333333331,122.692401,35.123783000000003,7.6682750625000002,2.1952364375000002,4.1701649999999999,2119,4.7688737407983191E-2,4.7688737407983188,3.0682132056451591E-2,3.0682132056451592,0.28627512962273843,3.7348932169609978E-3]
["Hot_1_d20mm",5811.5,96.858333333333334,122.04624,31.093858000000001,7.6278899999999998,1.9433661250000001,4.1701649999999999,2119,4.2217173166202437E-2,4.2217173166202437,2.5254032258064441E-2,2.5254032258064441,0.25477112609122576,4.296794276863105E-4]
["Hot_1_d20mm",5954,99.233333333333334,118.181507,33.563251000000001,7.3863441874999998,2.0977031875000001,4.1701649999999999,2119,4.5569950807896435E-2,4.5569950807896431,-7.211802755376427E-3,-0.72118027553764275,0.28399748701799854,4.8760192656123386E-2]
["Hot_1_d20mm",6109,101.81666666666666,120.602244,32.367249999999999,7.5376402499999999,2.0229531249999999,4.1701649999999999,2119,4.3946100164340036E-2,4.3946100164340036,1.312368951612897E-2,1.3123689516128971,0.26838016380524393,4.8331749710808806E-3]

{"sheet":"ConstTrues_300s_DefT6_G2.5mm","index":2,"n_rows":11,"n_cols":26,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["VoiName(Region) [string]","Time [seconds]","Time [minutes]","Averaged [kBq/cc]","Sd [kBq/cc]","Averaged [kBq/cc]","Sd [kBq/cc]","Volume [ccm]","NumberOfPixels [voxels]","SE","%SE","Bias","%Bias","COVframe","COVmean","COVmean","BPnd","SE","%Bias","%BiasSE","COVframe","COVmean","COVmean","T6 True Data","kBq/ml","Av.Measured"]
["BG",6279,{"$f":"B2/60","v":104.65},64.264126000000005,31.874167,{"$f":"D2/32","v":2.0082539375000001},{"$f":"E2/32","v":0.99606771875},122.32576,62635,{"$f":"G2/SQRT(I2)","v":3.9799748208114074E-3},{"$f":"J2*100","v":0.39799748208114072},{"$f":"(F2-$Y$2)/$Y$2","v":9.1728329145729405E-3},{"$f":"100*L2","v":0.91728329145729404},{"$f":"G2/F2","v":0.49598693678647399},{"$f":"(F2-$Z$2)^2","v":1.1556693441753916E-4},{"$f":"(SQRT((1/(((COUNT(O2:O6))-1))*(SUM(O2:O6)))))/$Z$2","v":4.78414312037746E-3},{"$f":"(F7/F2)-1","v":0.87803108066855207},{"$f":"SQRT((J2^2)+(J7^2))","v":2.2712295323997836E-2},{"$f":"100*((Q2-$Y$5)/$Y$5)","v":3.2977741963002458},{"$f":"100*((SQRT((J2^2)+(J7^2))/$Y$5))","v":2.6720347439997454},{"$f":"SQRT((N2^2)+(N7^2))","v":0.5661160902351694},{"$f":"(Q2-$Z$5)^2","v":6.563945800650467E-4},{"$f":"(SQRT((1/(((COUNT(V2:V5))-1))*(SUM(V2:V5)))))/$Z$5","v":2.8379390955934402E-2},"BG",1.99,{"$f":"AVERAGE(F2:F6)","v":2.0190041437500001}]
["BG",6467.5,{"$f":"B3/60","v":107.79166666666667},64.427150999999995,32.905627000000003,{"$f":"D3/32","v":2.0133484687499998},{"$f":"E3/32","v":1.0283008437500001},122.32576,62635,{"$f":"G3/SQRT(I3)","v":4.1087682988864309E-3},{"$f":"J3*100","v":0.4108768298886431},{"$f":"(F3-$Y$2)/$Y$2","v":1.1732898869346659E-2},{"$f":"100*L3","v":1.173289886934666},{"$f":"G3/F3","v":0.5107416126471277},{"$f":"(F3-$Z$2)^2","v":3.1986659705628438E-5},{"$f":"(SQRT((1/(((COUNT(O7:O11))-1))*(SUM(O7:O11)))))/$Z$3","v":1.0663179468762385E-2},{"$f":"(F8/F3)-1","v":0.83372668457743848},{"$f":"SQRT((J3^2)+(J8^2))","v":2.2285234501178672E-2},{"$f":"100*((Q3-$Y$5)/$Y$5)","v":-1.9145076967719408},{"$f":"100*((SQRT((J3^2)+(J8^2))/$Y$5))","v":2.6217922942563145},{"$f":"SQRT((N3^2)+(N8^2))","v":0.57917162726647764},{"$f":"(Q3-$Z$5)^2","v":3.4909923314368688E-4},null,"Hot_1_d20mm",3.7,{"$f":"AVERAGE(F7:F11)","v":3.7399684312499999}]
["BG",6679,111.31666666666666,64.672009000000003,32.451698999999998,2.0210002812500001,1.0141155937499999,122.32576,62635,4.0520884800707329E-3,0.4052088480070733,1.557803077889452E-2,1.557803077889452,0.50178894241556649,3.9845649189060076E-6,null,0.8317930868669936,2.1902457965699899E-2,-2.1419897803536911,2.5767597606705763,0.56870376320184157,4.2509347594626453E-4]
["BG",6919,115.31666666666666,64.593056000000004,32.170225000000002,2.0185330000000001,1.0053195312500001,122.32576,62635,4.0169421676129659E-3,0.40169421676129657,1.4338190954773941E-2,1.4338190954773942,0.49804463501463686,2.2197643316407545E-7,null,0.87043896792868858,2.3653463986101873E-2,2.4045844621986592,2.7827604689531618,0.57342729622218525,3.2501188242737081E-4,null,"BPnd",0.85,{"$f":"AVERAGE(Q2:Q6)","v":0.85241088199514115}]
["BG",7197,119.95,65.084321000000003,32.724854000000001,2.0338850312500001,1.0226516875,122.32576,62635,4.0861960387774043E-3,0.40861960387774043,2.2052779522613114E-2,2.2052779522613113,0.50280702782471987,2.2144081278765445E-4,null,0.84806458993403333,2.1402260998796645E-2,-0.2276953018784291,2.5179130586819585,0.56481116272769294,1.8890254680448816E-5]
["Hot_1_d20mm",6279,104.65,120.690026,32.938513999999998,3.7715633125000001,1.0293285624999999,4.1701649999999999,2119,2.2360862221976172E-2,2.2360862221976174,{"$f":"(F7-$Y$3)/$Y$3","v":1.9341435810810787E-2},1.9341435810810788,0.27291827743909836,{"$f":"(F7-$Z$3)^2","v":9.9823652120161464E-4}]
["Hot_1_d20mm",6467.5,107.79166666666667,118.141786,32.264341999999999,3.6919308124999999,1.0082606875,4.1701649999999999,2119,2.1903189261808204E-2,2.1903189261808205,{"$f":"(F8-$Y$3)/$Y$3","v":-2.1808614864865664E-3},-0.21808614864865664,0.27309847846722074,{"$f":"(F8-$Z$3)^2","v":2.3076128151703528E-3}]
["Hot_1_d20mm",6679,111.31666666666666,118.465739,31.706316000000001,3.70205434375,0.99082237500000003,4.1701649999999999,2119,2.1524363960148254E-2,2.1524363960148252,5.5522804054048607E-4,5.5522804054048608E-2,0.26764122916584349,1.4374780309576499E-3]
["Hot_1_d20mm",6919,115.31666666666666,120.817369,34.336458999999998,3.77554278125,1.0730143437499999,4.1701649999999999,2119,2.3309880612389915E-2,2.3309880612389913,2.0416967905405353E-2,2.0416967905405352,0.28420134691064164,1.2655343779225062E-3]
["Hot_1_d20mm",7197,119.95,120.280029,30.946521000000001,3.75875090625,0.96707878125000002,4.1701649999999999,2119,2.1008564391535464E-2,2.1008564391535463,1.5878623310810754E-2,1.5878623310810753,0.25728727584526939,3.5278136712562784E-4]